LIMERICK CITY AND COUNTY COUNCIL

Re: Request for Taking In Charge - Information to be submitted.

Planning Ref. No:  ________________________

Development Name and Location: _________________________________________

Developer: _____________________________________________________________

The following list of information has to be submitted in order for the ‘Taking In Charge’ process to commence.

- 2 Copies of map outlining the boundary of site to be taken in charge in red

- 2 Copies of the relevant “As Constructed” detailed drawings of the development indicating the following; Roads, Public lighting (incl. all chambers), Foul Drainage Networks, Waste Water Treatment system (if applicable), Storm Drainage Networks, Water Mains (incl. all chambers, valves, etc.), All Manholes and Chamber locations and details and Open / Green spaces.

- A way-leave drawing and register of all way-leaves pertaining to the development, if any.

- 2 Copies of CCTV survey of all foul and storm drainage networks, service chambers and connections installed as part of the above planning permission.

- 2 Copies of “As Constructed” drawings of all underground services, including longitudinal sections, showing proposed levels, existing ground levels, invert levels, pipe sizes, bedding, haunch and surround details, backfill details, together with manhole locations, chainages, gradients, pipe sizes, pipe materials, etc. All manholes should be given unique, sequential numbers/letters for identification. SUS25 sewer surveys, infiltration test results for manholes and full details of pressure tests on watermains and sewers are to be submitted also.

- Certification from a Bonded Chartered Engineer of pressure tests completed on all water mains and water connections installed as part of this development and certification that the development is leak free.

- Certification from a Bonded Chartered Engineer that the development was completed in accordance with the Planning Conditions as detailed for this permission and in accordance with Good Engineering Practices and Recommendations for Site Development Works.

- 2 Copies of “As Installed” drawings for all water meters, their serial numbers and the premises, which are serviced by them.

- 2 Copies of “As Constructed” drawings detailing all public lighting standards indicating their MPRN and location of Micro Pillar along with a statement of account from the service provider showing charges paid to date or for last 6 months.

- Health and Safety file for the development.

The above information should be submitted to Limerick City and County Council, Planning and Place Making, Dooradoyle, Co. Limerick in order for your application to be assessed.